CITY OF TEKOA

PO Box 927

Tekoa, Washington 99033-0927

509-284-3861

Building Official – Steve Haxton

509-981-2157

Building Inspections

- Footing and foundation inspections are required when forms and

reinforcement is in place.

2)  Rough plumbing is to be inspected before covering it with earth

or insulation.

3)  Framing and mechanical (chimneys and ducts) inspections are

needed after the roof, framing, fire blocking, bracing, ducting, and

chimney installations are completed, but before insulating.

4)  Insulation inspections are required before drywall or plaster is

installed. Ceiling coverings may be installed before insulating

upon approval of the building inspector.

5)  A drywall or lath nailing inspection is required before tape or mud

is applied.

6)  The final inspection is needed when the construction is complete and

ready for use.

Please make sure that critical work such as drywall taping and concrete pours are not scheduled until the required inspections are made and passed.

If a contractor is doing the work, they should call for inspections; however,

It is the owner’s ultimate responsibility to make sure all permits are purchased and inspections are made.

Building inspections can only be done Monday through Friday. If inspections are made on weekends; an additional $60.00 fee will be imposed.

Thank you for your assistance in the building inspection process.